## Slide 1: Lecture 6: Data Centre Networking
CS5229 Advanced Computer Networks

## Slide 2
Quick Admin Notes
2
Sorry we messed up. 
Deadline for Homework 1 has been extended to this Sunday (19th September, 23:59)
Questions?

## Slide 3: XCP fairness controller (AIMD)
Φ > 0 : Additive Increase on rate
Φ < 0 : Multiplicative Decrease on rate
Reflected as ∆cwnd
AI: Everyone increases by the same ∆Rate.
MD: Everyone decreases by some ∆Rate proportional to their current rate

## Slide 4: XCP fairness controller (AIMD)
Say XCP wants the ∆cwnd to take effect over some time period t. It would then have the distribute ∆cwnd over K packets, where K is the total number of packets a sender sends during the time period t.
K = (rate in packets per second) x t
packets/cwnd
same for every flow

## Slide 5: Recap: Last Week
Routers know a lot
We can do better CC with network support
Need for incremental deployment
Embedding information in packet headers to avoid per-flow state
Feedback loop can become unstable if delay increases
Convergence & stability matters
Difficult to deploy ECN & in-network protocols
lack of control

## Slide 6: What about data centres?

## Slide 7
Singh et al. Jupiter rising: A decade of clos topologies and centralized control in google's datacenter network. ACM SIGCOMM computer communication review, 45(4), 183-197. 2015

## Slide 8
Benson et al. "Network traffic characteristics of data centers in the wild." Proceedings of the 10th ACM SIGCOMM conference on Internet measurement. 2010.
Intra-DC
Outgoing

## Slide 9: Key Trends
Huge(!) traffic + growing
Traffic patterns in DCs fundamentally different from Internet at large
Intra-DC traffic!

## Slide 10: What is different?
Larger volume of traffic, huge number of flows
Tight deadlines for network I/O
machine-to-machine traffic
Hadoop, MapReduce
~1 s (Internet) vs ~10 ms (DC)

## Slide 11: What is different?
Congestion and TCP incast
Need for isolation across applications
Centralized control at the flow level may be difficult but we have a lot more control(!)
Regular TCP doesn’t work well

## Slide 12: Challenges of DC Comms

## Slide 13
Source: phys.org

## Slide 14: How do we build a data centre?
Server
Top-of-rack switch

## Slide 15: How do we build a data centre?
Simple
right??

## Slide 16: Why not simple?
Scalability
$$$$

## Slide 17: FatTree

## Slide 18: Key Idea
$$$
“big” switch

## Slide 19: Key Idea
$$$$
“bigger” switch

## Slide 20: Key Idea
$$$
$$$
Even bigger
how?

## Slide 21: Clos (Tree) Network
$$$
$$$
$$$
$$$
$$$$

## Slide 22: Clos (Tree) Network
$$$
$$$
$$$
$$$
$$$
$$$

## Slide 23: FatTree

## Slide 24: FatTree (2008)
C. E. Leiserson (1985)
All switching elements are equivalent!
Replace large expensive switches ($$$$) with smaller commodity switches ($$$)
Tradeoff some latency to save money and increase scalability
Load balancing + multipath routing (ECMP)
Failure resilience
Learning by doing in
the Final Project!

## Slide 25: Do we really need trees?

## Slide 26: Motivation: Jellyfish (2012)
FatTee design space very coarse: can only be built at sizes 3,456, 8,192, 27,648, and 65,536 corresponding to available port counts of 24, 32, 48, and 64
Fixed structure is a problem!

## Slide 27: Key idea: Jellyfish (2012)
Replace tree with Random
Regular Graph (RRG).
Why should this work better??
Shorter average path lengths!
Final Project
Cable hell

## Slide 28: Having a scalable topology solves the problem of large traffic volume

## Slide 29: Does it also mean that applications can meet their tight deadlines?

## Slide 30: What are these deadlines?
DC apps are not
the same as end-user apps

## Slide 31: Example: Web Search
Internet

## Slide 32: Example: Web Search (inside DC)
Query
Top-level aggregator (deadline: 250ms)
Middle-level aggregators (deadline: 50ms)
Workers (deadline: 10ms)
Notes: Logical Topology

## Slide 33: Example: Web Search (inside DC)
Top-level aggregator (deadline: 250ms)
Middle-level aggregators (deadline: 50ms)
Workers (deadline: 10ms)
Response
Deadlines necessary: response cannot be too late (affects user experience)

## Slide 34: Example: Web Search (inside DC)
Top-level aggregator (deadline: 250ms)
Middle-level aggregators (deadline: 50ms)
Workers (deadline: 10ms)
Response
Missed deadline: corresponding response skipped (lower quality result)
Hurts revenue!
Scatter-Gather OR Partition-Aggregate Application Traffic Pattern

## Slide 35: Partition-Aggregate is general!
Several large-scale web applications:
Web Search
Ad Selection
Social Network data composition e.g. FB Multiget
Notes: FB Multiget: http://highscalability.com/blog/2009/10/26/facebooks-memcached-multiget-hole-more-machines-more-capacit.html

## Slide 36: Why can’t we meet deadlines simply with better topologies?

## Slide 37: Synchronized mice flow collision caused by the partition-aggregate traffic pattern
Incast

## Slide 38: Incast
Aggregator
Top-of-rack switch
Congestion on the link to the aggregator
Notes: One of the server in the rack is an aggregator

## Slide 39: Incast
Not a normal TCP congestion
TCP flow sizes are very small: as small as 2 packets
Workers can either lose both packets or the last packet
No way for a worker to know that response packet(s) were lost  rely TCP retransmission timeout (RTO)  worker misses the deadline!
Notes: One of the server in the rack is an aggregator

## Slide 40: Mitigating Incast
If Incast is the only problem we need to solve, what is the most obvious solution?
Notes: One of the server in the rack is an aggregator

## Slide 41: Deep Buffers!

## Slide 42: Incast is not the only problem!

## Slide 43: Datacenter workloads are mixed
Partition/Aggregate (query)
   Need high burst tolerance
Short messages [50KB-1MB] (coordination, control)
   Need low-latency
Large flows [1MB-50MB] (data updates, batch processing)
   Need high-throughput
Notes: One of the server in the rack is an aggregator

## Slide 44: Other problem: large flows cause queue build-up that increase delays for latency-sensitive flows

## Slide 45: Conflicting Requirements
High Burst Tolerance
High Throughput
Low Latency
DCTCP
Deep Buffers (for throughput):
Queuing Delays
Increase Latency
Shallow Buffers:
Bad for Bursts tolerance & Throughput
Reduced RTOmin (SIGCOMM ‘09)
Doesn’t Help Latency Still need to ReTx
AQM – RED:
Avg Queue Not Fast
Enough for Incast
Credits: Adapted from Mohammad Alizadeh. DCTCP (SIGCOMM ’10)
Notes: Deep Buffers for throughput/burst tolerance – bad for latency
Shallow Buffers – bad for bursts & throughput
Reduce RTOmin – no good for latency
AQM – Difficult to tune, not fast enough for incast-style micro-bursts, lose throughput in low stat-mux

## Slide 46: Key Objective: Low Queue Occupancy & High Throughput

## Slide 47: Datacenter TCP (DCTCP)

## Slide 48
Key idea: React early and proportionately to congestion and don’t wait till packet loss

## Slide 49: The Buffer Sizing Story
Bandwidth-delay product rule of thumb:
  A single flow needs buffers for 100% Throughput.
Appenzeller rule of thumb (SIGCOMM ‘04):
  Large # of flows: is enough.
Can’t rely on statistical multiplexing benefit in the datacenter networks
  Measurements show typically 1-2 big flows at each server, at most 4.
Real Rule of Thumb:
Low Variance in Sending Rate → Small Buffers Good Enough!
Credits: Adapted from Mohammad Alizadeh, MIT

## Slide 50: DCTCP
Congestion Signal: Use ECN marking (but differently)
Two key ideas
React in proportion to the extent of congestion, not its presence.
  Reduces variance in sending rates, lowering queuing requirements.
Mark based on instantaneous queue length.
  Fast feedback to better deal with bursts.
ECN Marks | TCP | DCTCP
1 0 1 1 1 1 0 1 1 1 | Cut window by 50% | Cut window by 40%
0 0 0 0 0 0 0 0 0 1 | Cut window by 50% | Cut window by 5%
Credits: Adapted from Mohammad Alizadeh, MIT

## Slide 51: Data Center TCP Algorithm
Switch side:
  Mark packets when Queue Length > K.
  Sender side:
  Maintain running average of fraction of packets marked (α).
  In each RTT:
Adaptive window decreases:
  Note: decrease factor between 1 and 2.
B
K
Mark
Don’t
Mark
Credits: Adapted from Mohammad Alizadeh, MIT
EWMA
Notes: very simple marking mechanism
not all the tunings other aqms have
on the source side, the source is tryign to estimate the fraction of packets getting marked
using the obs that there is a stream of ecn marks coming back – more info in the stream than in any single bit
trying to maintain smooth rate variations to operate well even when using shallow buffers, and only a few flows (no stat mux)
F over the last RTT. In TCP there is always a way to get the next RTT from the window size. Comes from the self-clocking of TCP.
Only changing the decrease. Simplest version – makes a lot of sense. So generic could apply it to any algorithm – CTCP, CUBIC – how to cut its window leaving increase part to what it already does. Have to be careful here.

## Slide 52: DCTCP in Action
Setup: Win 7, Broadcom 1Gbps Switch
Scenario: 2 long-lived flows, K = 30KB
(Kbytes)
Credits: Adapted from Mohammad Alizadeh, MIT
Notes: Not ns2.

## Slide 53: Meeting the conflicting requirements
High Burst Tolerance
  Large buffer headroom → bursts fit.
  Aggressive marking → sources react before packets are dropped.
Low Latency
  Small buffer occupancies → low queuing delay.
3. High Throughput
  ECN averaging → smooth rate adjustments, low variance.
Credits: Adapted from Mohammad Alizadeh, MIT

## Slide 54: DCTCP Analysis
Packets sent (from the queue) in this period (1 RTT) are marked
Credits: Adapted from Mohammad Alizadeh, MIT
Amplitude
Lecture training: Use Qmax and Amplitude for estimating Query Completion Time
Notes: Section 3.3 in the paper has more detailed analysis

## Slide 55
Wait a minute, wasn’t RTT a great congestion signal?
It was fine grained, responsive, and didn’t require switch support.
The ECN Camp
The Delay Camp
RIP Vegas
Gone but not forgotten
Sure, but remember Vegas? There’s no way a delay-based algorithm will last when competing with a loss-based algorithm.
But that’s not a problem in data centers!

## Slide 56: Why did DCTCP NOT use delay as a congestion signal?

## Slide 57: Measuring RTT variations in datacenter networks
Datacenter networks
  Small RTTs: 10’s-100’s microseconds
  High-speed links (10+ Gbps)
  Shallow-buffered switches
RTT variations are very small
  10 packet queue build-up on a 10Gbps link  extra delay of 12µs
DCTCP published in 2010
  In 2010, no reliable way to measure such small RTT variations
  Even with high-resolution software timestamps on the servers, the measurements could be extremely noisy

## Slide 58: Fast-forward to 2015
High-speed NICs with hardware timestamping

## Slide 59
Tadaa!
Key idea: Let’s use delay as a congestion signal in data centers

## Slide 60
What were the problems we faced while using delay as a congestion signal the last time?
Competing with loss-based flows
Getting an accurate* RTT estimate
Let’s use NIC timestamps!
*within few µs

## Slide 61
How TIMELY measures the RTT
Credits: Radhika Mittal, UIUC

## Slide 62
How TIMELY measures the RTT
Credits: Radhika Mittal, UIUC

## Slide 63
The TIMELY Algorithm
TIMELY is rate-based, and not window based. Why?
Segments need to be paced, because in DC, segments can be larger than the BDP!

## Slide 64
The TIMELY Algorithm
Good ol’ AIMD

## Slide 65
The TIMELY Algorithm
RTT Gradient-based AIMD
Queue is building
Queue is draining
RTT

## Slide 66
normalized_gradient ≤ 0?
T_low
T_high

## Slide 67
The TIMELY Algorithm
RTT Gradient-based AIMD
Queue is building
Queue is draining
RTT

## Slide 68
TIMELY’s performance
Why is TIMELY’s performance so much better than DCTCP?
Yay!
…

## Slide 69
TIMELY’s performance
RTT changes is more correlatd to congestion than ECN!
TIMELY
DCTCP

## Slide 70: Summary
Data Centres have different traffic patterns
Topology Matters
DC Congestion control & Incast
Having full controls helps a lot
    DCTCP (ECN-based)
    TIMELY (delay-based)

## Slide 71: Midterm Survey!
+100 EXP

## Slide 72: Have a Recess Week!